## ELECTRIC
Transfer Lane Electric Service Readings
Period (days) | 30 | DAYS
| EVERSOURCE READING DATES | 2016-12-29 | 2017-01-30
| CONSTELLATION READING DATES | [9 empty] | INCLUDED LATE CHARGE of $369.79 | APPLY LATE CHARGE CREDIT TO MARCH 2017 BILL
| DPW READING DATES | 2017-01-03 | 2017-02-01
|  | Old | New | KW | KWH | Total KW | Charge | SUPPLY | DISTRIBUTION | TOTAL | DISTRIBUTION & SUPPLY CHARGE | DISTRIBUTION & SUPPLY CHARGE
Multiplier | Location | Reading | Reading | Used | per Day | W/Mutiplier | Factor | CHARGE | CHARGE | CHARGE
[8 empty] | CONSTELLATION | EVERSOURCE |  | EVERSOURCE | EVERSOURCE
1 | WWTP Light Pole | 4727 | 4868 | 141 | 4.7 | 141 | 0.00085489 | 0 | 20.7594 | 20.7594 | 21.0756 | 0.31613
1 | Blower Bld | 0 | 70404 | 70404 | 2346.8 | 70404 | 0.42686 | 0 | 10365.5828 | 10365.5828 | 10523.4329 | 157.8501
1 | Cardboard Bld | 49468 | 50288 | 820 | 27.3333 | 820 | 0.0049717 | 0 | 120.7286 | 120.7286 | 122.5671 | 1.8385
1 | Scale Bld | 18939 | 20919 | 1980 | 66 | 1980 | 0.012005 | 0 | 291.5155 | 291.5155 | 295.9547 | 4.4393
1 | EFF PUMP | 0 | 50327 | 50327 | 1677.5667 | 50327 | 0.30514 | 0 | 7409.6456 | 7409.6456 | 7522.4818 | 112.8363
128 | Main Pump ST. | 0 | 192 | 192 | 819.2 | 24576 | 0.14901 | 0 | 3618.3251 | 3618.3251 | 3673.4261 | 55.1009
1 | Highway Garage | 87866 | 93929 | 6063 | 202.1 | 6063 | 0.03676 | 0 | 892.6557 | 892.6557 | 906.2493 | 13.5936
1 | Maintenance shop | 63605 | 67454 | 3849 | 128.3 | 3849 | 0.023337 | 0 | 566.6884 | 566.6884 | 575.3181 | 8.6297
1 | under drain lagoon # 3 | 35656 | 35656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | NEW Transfer Station Building | 68185 | 74284 | 6099 | 203.3 | 6099 | 0.036979 | 0 | 897.9559 | 897.9559 | 911.6303 | 13.6743
1 | Transfer Station Office | 78177 | 78851 | 674 | 22.4667 | 674 | 0.0040865 | 0 | 99.233 | 99.233 | 100.7442 | 1.5111
| TOTAL READINGS ABOVE |  |  | 140549 | 5497.7667 | 164933 | [5 empty] | 0
300 | Master Meter Read AT POLE | 11309 | 11875 | 566 | 5660 | 169800 | 0.99915
| Total KWH Used (from bill) |  |  |  |  | 180682 | KWH
| CURRENT Electric Bill |  |  |  | DEMAND | 320 | KW | 0 | 24283.09 | 24283.09 | 24652.88 | 369.79
| Highway Garage | [6 empty] | 0 | 892.6557 | 892.6557 | 906.2493 | 13.5936
| Vehicle Maintenance | [6 empty] | 0 | 566.6884 | 566.6884 | 575.3181 | 8.6297
| Transfer Station | [6 empty] | 0 | 1409.433 | 1409.433 | 1430.8963 | 21.4633
| Wastewater | [6 empty] | 0 | 21414.3129 | 21414.3129 | 21740.4164 | 326.1034
[8 empty] | 0 | 24283.09 | 24283.09 | 24652.88 | 369.79